## initial
clause | type | display.text | comments
do section survey
goto _finalize |  |  | skips the finalize screen where the user chooses to save as incomplete or finalized and instead saves as finalized

## survey
clause | condition | type | values_list | name | display.title.text | display.title.text.es | display.title.text.fr | display.prompt.text | display.prompt.text.es | display.prompt.text.fr | required
begin screen
if | 0
|  | string |  | cold_room_id | Cold Room ID | ID de Cuarto Frio |  | Enter the ID of the cold room | Por favor entre el ID del cuarto frio |  | 1
end if
|  | select_one_with_other | serviced_by_type | serviced_by | Serviced By | Atendido por |  | Who performed the service? | ¿Quién realizó el servicio?
|  | string |  | technician_name | Technician Name | Nombre del técnico |  | Enter technician name | Ingrese el nombre del técnico
|  | string |  | technician_phone | Technician Phone Number | Número de teléfono del técnico |  | Enter technician phone number if available | Ingrese el número de teléfono del técnico si está disponible
end screen
begin screen
|  | birthdate |  | date_serviced | Date Serviced | Fecha de Servicio |  | Enter the date of service | Ingrese la fecha de servicio
|  | string |  | notes | Notes | Notas |  | Enter any extra notes | Notas extras
|  | select_multiple | maint_types | type_of_maintenance | Type of Maintenance Performed | Tipo de mantenimiento realizado |  | Select type of maintenance | Seleccione el tipo de mantenimiento
if | selected(data('type_of_maintenance'), 'other')
|  | text |  | other_maintenance | Other Maintenance | Otro mantenimiento |  | Enter other maintenance | Ingrese otro mantenimiento
end if
if | selected(data('type_of_maintenance'), 'repair')
|  | select_multiple | repair_types | type_of_repair | Type of Repair | Tipo de Reparación |  | Select type of repair | Seleccione tipo de reparación
if | selected(data('type_of_repair'), 'other')
|  | text |  | other_repair | Other Repair | Otra Reparación |  | Enter other repair | Ingrese otra reparación
end if
|  | text |  | repair_activities | Repair Activities | Actividades de Reparacion |  | Enter actions taken | Ingrese las acciones tomadas
end if
if | selected(data('type_of_maintenance'), 'preventative')
|  | select_multiple | preventative_maint_types | type_of_preventative_maintenance | Type of Preventative Maintenance | Tipo de Mantenimiento Preventivo |  | Select type of preventative maintenance | Seleccione tipo de mantenimiento preventivo
|  | text |  | preventative_comments | Comments | Comentarios |  | Enter comments | Ingrese comentarios
end if
end screen
begin screen
|  | select_multiple | common_spare_parts | spare_parts | Spare Parts | Piezas de Repuesto |  | Select spare parts replaced/used | Seleccione piezas de repuestos reemplazadas/usadas
|  | string |  | other_spare_parts | Other | Otro |  | Other spare parts replaced/used | Otras piezas de repuesto reemplazadas/usadas
end screen
begin screen
|  | integer |  | total_hrs_of_operation_unit1 | Total Hours of Operation Unit 1 | Total de horas de operación unidad 1 |  | Enter total hours of operation for unit 1 | Ingrese el total de horas de operación para la unidad 1
|  | integer |  | total_hrs_of_operation_unit2 | Total Hours of Operation Unit 2 | Total de horas de operación unidad 2 |  | Enter total hours of operation for unit 2 | Ingrese el total de horas de operación para la unidad 2
end screen
|  | note |  |  | Update Cold Room Status | Actualizar estado del refrigerador |  | Please update cold room status as needed | Actualice el estado del cuarto frio según sea necesario

## choices
choice_list_name | data_value | display.title.text | display.title.text.es | display.title.text.fr
maint_types | repair | Repair | Reparar
maint_types | preventative | Preventative | Preventivo
maint_types | other | Other | Otro
serviced_by_type | warranty_service_provider | Warranty/Service Provider | Garantía / Proveedor de Servicios
serviced_by_type | cce_technician | CCE Technician | CCE Técnico
serviced_by_type | facility_staff | Facility Staff | Personal de las Facilidades
common_spare_parts | evaporator_fan_motor | Evaporator Fan Motor | Motor del ventilador del evaporador
common_spare_parts | condenser_fan_motor | Condenser Fan Motor | Motor del ventilador del condensador
common_spare_parts | evaporator_probe | Evaporator Probe | Sonda de evaporador
common_spare_parts | filter_drier | Filter Drier | Filtro deshidratador
common_spare_parts | refrigeration_expansive_valve_capillary | Refrigeration Expansion Valve/Capillary | Válvula de expansión de refrigeración/capilar
common_spare_parts | controllers_complete_with_display | Controllers with Display | Controladores con pantalla
common_spare_parts | high_low_pressure_switch | High/Low Pressure Switch | interruptor de alta/baja presión
common_spare_parts | refrigerant | Refrigerant | Refrigerante
common_spare_parts | compressors | Compressors | Compresores
common_spare_parts | compressor_oil | Compressor Oil | Aceite del compresor
repair_types | electrical_and_control_system | Electrical and Control System | Sistema electrico y de control
repair_types | cabinet | Cabinet | Gabinete
repair_types | refrigeration_system | Refrigeration System | Sistema de refrigeración
repair_types | power | Power | Energía
repair_types | solar | Solar | Solar
repair_types | temperature_monitoring | Temperature Monitoring | Monitoreo de temperatura
repair_types | other | Other | Otro
preventative_maint_types | check_evaporator | Check/clean/tighten evaporator | Comprobar/limpiar/apretar evaporador
preventative_maint_types | check_duty_sharing_system | Check/clean/tighten duty-sharing system | Comprobar/limpiar/apretar el sistema de reparto de tareas
preventative_maint_types | check_temperature_monitoring_system | Check/clean/tighten temperature monitoring system | Comprobar/limpiar/apretar el sistema de monitoreo de temperatura
preventative_maint_types | check_enclosure | Check/clean/tighten enclosure | Comprobar/limpiar/apretar el recinto
preventative_maint_types | check_door_and_lock | Check/clean/tighten door and lock | Comprobar/limpiar/apretar puerta y cerradura
preventative_maint_types | check_freezer_pressure_release_vent | Check/clean/tighten freezer pressure release vent | Comprobar/limpiar/apretar ventilación de liberación de presión del congelador
preventative_maint_types | check_spare_parts_inventory | Check/clean/tighten spare parts inventory | Comprobar/limpiar/apretar inventario de repuestos

## queries
query_name | query_type | linked_form_id | linked_table_id | selection | selectionArgs | newRowInitialElementKeyToValueMap | openRowInitialElementKeyToValueMap
cold_room_ids | linked_table | cold_rooms | cold_rooms | _id >= ? | [ '0' ] | {} | {}

## settings
setting_name | value | display.title.text | display.title.text.es | display.title.text.fr | display.locale.text | display.locale.text.es | display.locale.text.fr
form_id | cold_room_maintenance_logs
table_id | cold_room_maintenance_logs
survey |  | Cold Room Maintenance Logs | Registro de Servicio de Cuartos Frios
form_version | 20191005
instance_name | date_serviced
english |  |  |  |  | English | Inglés | Anglais
es |  |  |  |  | Spanish | Español | Espagnol
fr |  |  |  |  | French | Francés | Francais

## properties
partition | aspect | key | type | value
Table | default | defaultViewType | string | LIST
Table | default | detailViewFileName | string | config/tables/cold_room_maintenance_logs/html/cold_room_maintenance_logs_detail.html
Table | default | listViewFileName | string | config/tables/cold_room_maintenance_logs/html/cold_room_maintenance_logs_list.html
Table | security | unverifiedUserCanCreate | boolean | false
Table | security | defaultAccessOnCreation | string | HIDDEN
FormType | default | FormType.formType | string | SURVEY
SurveyUtil | default | SurveyUtil.formId | string | wrong_form